## Sheet1
Covering Parking Lots and Roofs to Produce Electricity with Solar Energy
Parking Areas |  | Paved Roads |  | Residential Roofing
Calcs | Description | Calcs | Description | Calcs | Description | Refs
1921582 | hectares of parking lot, USA* | 13998033 | hectares of roadway paving in the USA* | 102803000 | permanently occupied homes in the USA | http://www.census.gov/hhes/www/housing/ahs/ahs99/tab1a3.html
259 | hectares/ sq mi | 259 | hectares/ sq mi | 1729 | size | http://www.census.gov/hhes/www/housing/ahs/ahs99/tab1a3.html
7419.2355 | sq mi of parking lot in the USA | 54046.4595 | sq mi of roads in the USA | 57.2% | % coverage *** | http://www.census.gov/hhes/www/housing/ahs/hsgprof.html
27878400 | sq ft/sq mi | 27878400 | sq ft/sq mi | 989.0382 | average roof size
206836415555.2124 | sq ft of parking lots in the USA | 1.5067e+12 | sq ft of roads in the USA | 101676092700 | sq ft of roof
1394 | electricity, watts/capita ** | 1394 | electricity, watts/capita ** | 1394
0.19 | capacity factor, solar | 0.19 | capacity factor, solar | 0.19
10 | watts/sf solar | 10 | watts/sf solar | 10
733.6842 | sf required per capita | 733.6842 | sf required per capita | 733.6842
281914770.1255 | population that could be served by solar panels over parking lots in the USA | 2053647596.3054 | population that could be served by solar panels over roads in the USA | 138582909.7059
276000000 | population of the USA | 276000000 | population of the USA | 276000000
102.1% | population that could be served by solar panels over parking lots in the USA | 744.1% | population that could be served by solar panels over roads in the USA | 50.21%
* http://www.worldwatch.org/chairman/issue/010214d2.html |  |  |  | *** roof coverage
http://www.census.gov/hhes/www/housing/ahs/ahs99/tab1a2.html
** per capita electricity consumption: |  |  |  | # units | # stories | # stories
http://www.odci.gov/cia/publications/factbook/geos/us.html#Econ |  |  |  | 33413 | 1 | 33413
Calcs | Description |  |  | 33790 | 2 | 16895
3365000000000 | trillion kWh |  |  | 21894 | 3 | 7298
275562673 | pop |  |  | 5081 | 4 to 6 | 1016.2
12211.3781 | kwh/cap/year |  |  | 1841 | 7+ | 184.1
8760 | hrs/year |  |  |  |  | 58806.3
1.394 | kwh/hr average consumption |  |  |  |  | 102803
57.2%